## Slide 1: Impact of interfractional anatomic variations on breath-hold SBRT for pancreatic cancer: Are we flying blind with cone-beam CT image guidance?
COMP-CWS 2021
  Josh Niedzielski, PhD
  Chief Resident, Dept of Radiation Physics
  MD Anderson Cancer Center

## Slide 2: Pancreatic Cancer
Staging
  Resectable
  Borderline resectable
  Locally advanced
  Metastatic
Surgery (10-20%)
Resectable
Metastatic
Chemotherapy (40-50%)
BR/LA Disease
???
(30-40%)
Slide adapted from Gabriel Sawakuchi, PhD

## Slide 3: Stereotactic Body Radiation Therapy
Benefits:
    Highly conformal dose distributions
    Shorten overall Tx length
    Higher biological effective dose (BED)
Requirements:
    High dose gradients
    Image guidance
    Immobilization
    Motion management
Conv RT
SBRT

## Slide 4: SBRT for Pancreatic Cancer
    Conundrum:
    Pancreas tumors require high RT doses
    Several OARs are very close to pancreas
      Duodenum, stomach, & small bowel
    GI OARs are highly radiosensitive
      Volume receiving 35 Gy < 1 cm3
Figure courtesy of Gabriel Sawakuchi, PhD

## Slide 5: Study overview
Motivation
  Pancreas Ca Tx has poor outcomes
  GI Anatomy/tumor can have significant interfractional motion
  SBRT could potentially be efficacious
  For pancreas SBRT, most centers use CBCT image guidance
Figure adapted from Srinivasan et al. 2014 (Pol J Radiol)
Notes: -

## Slide 6: Study overview
Concerns/Issues
    CBCT is not diagnostic quality
    Reliance on implanted fiducials for alignments
    OARs can be indiscernible on daily CBCTs
Unresolved questions
  How does interfractional motion impact OAR/tumor dose
  What is the daily fractional dose variations?
  How does this differ from plan dose?
Study Aim
  Determine dosimetric differences between planned and fractional accumulated doses to the GTV/OARs due to interactional anatomic variations
Plan
CBCT
CTOR

## Slide 7: Methods
Cohort
11 pancreas cancer patients
5-Fx SBRT
Breath-hold motion management
Several Rx’s
  33, 36, 40 Gy
3-5 implanted gold fiducials for tumor localization
Daily in-room CT-on-rails (CTOR) image guidance

## Slide 8: Methods
How do we get dose?
  CT-on-rails is key!
Delineate Fiducials
  Bone window
  Ensure consistency
Simulated CBCT alignment
Alignment in Raystation
  Rigid, translational only
  Mimic table shifts on Tx couch

## Slide 9: Methods
Calculate fractional doses
Use CTOR data to calculate daily Tx doses
  Delineate duodenum, stomach, small bowel, GTV on each CTOR imageset
Accumulate fractional doses to final accumulated DVH
  OAR DVH metrics: D0.1cc, D1.0cc, D3.0cc, D9.0cc
  GTV DVH metrics: D100%, D98%, D95%, D90%

## Slide 10: Methods
Dose Accumulation
Compute fractional absolute DVHs
Sum fractional DVHs into accumulate DVH
Extract fractional & total accumulated DVH metrics
Fraction 1

## Slide 11: Methods
Dose Accumulation
Compute fractional absolute DVHs
Sum fractional DVHs into accumulate DVH
Extract fractional & total accumulated DVH metrics
Fraction 1+2
Fraction 1
…

## Slide 12: Methods
Dose Accumulation
Compute fractional absolute DVHs
Sum fractional DVHs into accumulate DVH
Extract fractional & total accumulated DVH metrics
Fraction 1+2
Fraction 1
…
Accumulated DVH

## Slide 13: Methods
Analysis
Daily fractional variations in OAR/GTV dose
Planned vs. Accumulated dose
  Violations in OAR constraint?
    D1.0cc < 35 Gy
  Loss of GTV coverage?
    D100%
Examine fractional variations in dose
Examine total planned vs. accumulated dose

## Slide 14: Results
Interfractional daily dose variations
  Mean absolute fractional difference in dose metrics b/w planned and accumulated
    Compare 1/5th of total planned dose to each fractional dose
  Large variance in OAR fractional doses were found for most patients
  Lost in GTV coverage was also found on some fractions for a few patients
Niedzielski et al. 2020 Red Journal [Submitted 12/2020]

## Slide 15: Results
Interfractional dose variations (total dose)
  Total dose differences b/w planned and accumulated DVH metrics
  3 patients violated D1.0cc <35 Gy on accumulated dose, but not plan
    2 duodenum, 1 small bowel
  OAR dose differences less pronounced for large volumes analyzed
Niedzielski et al. 2020 Red Journal [In preparation]

## Slide 16: Conclusions
  Interfractional dose variations are considerable
    On daily fractional basis
    Total dose distribution
  Total planned vs. accumulated dose differences:
    Can result in patients violating OAR constraints
    Loss of target coverage
  Caution on assuming dose distribution when using CBCT image guidance

## Slide 17: Acknowledgements
GI Radiation Physics:
  Gabriel Sawakuchi, PhD (mentor)
  Sam Beddar, PhD
  Rachael Martin, PhD
  Luis Perles, PhD
Others:
  Neal Rebueno, CMD
  Joseph M. Herman, MD, MSc
  Sylvia S. W. Ng, MD, PhD
  Laurence Court, PhD
  Carlos Cardenas, PhD
GI Radiation Oncology:
  Albert Koong, MD, PhD
  Yufei Liu, MD
  Prajnan Das, MD, MS
  Ethan B. Ludmir, MD
  Eugene J. Koay, MD, PhD
  Cullen Taniguchi, MD, PhD
  Emma B. Holliday, MD
  Grace L. Smith, MD, PhD
  Bruce D. Minsky, MD
Thank you!
Email: jsniedzielski@mdanderson.org